## 封面 Cover
UPS5000&SmartLi 机柜底座接口图 UPS5000 & SmartLi Cabinet Base Port Diagrams
拟制 Prepared By | Jiao Bin 30015507 | 日期 Date | 2024-09-20
审核 Reviewed By |  | 日期 Date | 2024-09-22
批准 Granted By |  | 日期 Date
Huawei Digital Power Technologies Co., Ltd.
All rights reserved

## 修订记录 Revision Record
修订记录 Revision Record
日期 Date | 修订版本 Revised Version | 修改描述 Modification Description | 作者/修订人 Author/Reviser
2024.09.20 | V1.0 | 首次发布 First release | Jiao Bin 30015507
2026.5.27 | V2.0 | 新增SmartLi 5.0底座接口尺寸 | chen rui 60037707

## 选型目录 Selection Catalog
数据中心UPS5000机柜底座接口图 Ports on the UPS5000 cabinet base in the data center
产品类型 Product Type | 机柜宽度 W（mm） Cabinet Width (mm) | 机柜深度 D（mm） Cabinet Depth (mm) | 图纸名称 Drawing Name | 备注 Remarks | 底座型号和尺寸说明 Base Model and Dimensions
UPS5000 | 600 | 1000 | 带滚轮机柜600*1000 Cabinet with castors (600 mm x 1000 mm) | 适配SmartLi 5.0机柜 Applicable cabinet: SmartLi 5.0 cabinet
| 600 | 850 | 带滚轮机柜600*850 Cabinet with castors (600 mm x 850 mm) | 适配机柜ups5000-E/S/A-120K-300K Applicable cabinet: UPS5000-E/S/A-120K-300K 适配SmartLi机柜 Applicable cabinet: SmartLi cabinet
| 600 | 1000 | 支脚机柜600*1000 Cabinet with feet (600 mm x 1000 mm) | 适配机柜UPS5000-H-200K-NTN Applicable cabinet: UPS5000-H-200K-NTN
| 1200 | 850 | 支脚机柜1200*850（双柜） 1200 mm x 850 mm cabinet with feet (two cabinets) | 适配机柜UPS5000-E/S/A-400K/500K Applicable cabinet: UPS5000-E/S/A-400K/500K
| 1400 |  | 支脚机柜1400*850（双柜） 1400 mm x 850 mm cabinet with feet (two cabinets) | 适配机柜UPS5000-E/S/A-600K Applicable cabinet: UPS5000-E/S/A-600K
| 2400 |  | 支脚机柜2400*850（四柜） 2400 mm x 850 mm cabinet with feet (four cabinets) | 适配机柜UPS5000-E/S/A-800K Applicable cabinet: UPS5000-E/S/A-800K
| 800 | 1000 | 支脚机柜800*1000 800 mm x 1000 mm cabinet with feet | 适配机柜UPS5000-H-400K-600K-NT UPS5000-H-400K-600K-FT UPS5000-H-400K-600K-NTR Applicable cabinet: UPS5000-H-400K-600K-NT, UPS5000-H-400K-600K-FT, UPS5000-H-400K-600K-NTR | X表示整列机柜深度 X indicates the depth of the entire row of cabinets
| 800 |  | 支脚机柜800*1000（柜中柜） 800 mm x 1000 mm cabinet with feet (with an internal cabinet) | 适配机柜UPS5000-H-400K-600K-FTM(柜中柜机型) Applicable cabinet: UPS5000-H-400K-600K-FTM (with an internal cabinet)
| 1600 |  | 支脚机柜1600*1000（双柜） 1600 mm x 1000 mm cabinet with feet (two cabinets) | 适配机柜UPS5000-H-800K/1200K Applicable cabinet: UPS5000-H-800K/1200K
| 2400 |  | 支脚机柜2400*1000（三柜） 2400 mm x 1000 mm cabinet with feet (three cabinets) | 适配机柜UPS5000-H-1600K Applicable cabinet: UPS5000-H-1600K
其他机柜 Other cabinets | 400 | 1000 | 支脚机柜400*1000 Cabinet with feet (400 mm x 1000 mm) | 适配机柜UPS5000-H系列使用的进线柜或风扇柜 Applicable cabinet: low-voltage input cabinet or fan cabinet for the UPS5000-H series
| 400 | 850 | 带滚轮机柜400*850 Cabinet with castors (400 mm x 850 mm) | 适配机柜ups5000-E/S/A-120K-300K使用的进线柜 Applicable cabinet: low-voltage input cabinet for UPS5000-E/S/A-120K-300K
| 600 | 1200 | 带滚轮机柜600*850+选配上出风 600 mm x 850 mm cabinet with castors + Top air-flow cabinet | 适配机柜ups5000-E/S/A-120K-300K选配上出风 Applicable cabinet: UPS5000-E/S/A-120K-300K (with a top air-flow cabinet configured)
| 1200 | 1200 | 支脚机柜1200*850+选配上出风 1200 mm x 850 mm cabinet with feet + Top air-flow cabinet | 适配机柜UPS5000-E/S/A-400K/500K选配上出风 Applicable cabinet: UPS5000-E/S/A-400K/500K (with a top air-flow cabinet configured)
| 1400 | 1200 | 支脚机柜1400*850+选配上出风 1400 mm x 850 mm cabinet with feet + Top air-flow cabinet | 适配机柜UPS5000-E/S/A-600K选配上出风 Applicable cabinet: UPS5000-E/S/A-600K (with a top air-flow cabinet configured)
注/Notes： 1.本底座接口图选型表及图纸文件仅适用于适用于华为平台版本机柜，其它定制类机柜可能涉及外部接口变化，请单独联系华为数字能源技术支持获取。 1. This document applies only to cabinets of Huawei platform versions. For other customized cabinets, contact Huawei Digital Power technical support as these cabinets may involve external port changes.

## P1
All rights reserved
| 图纸名称 Drawing Name | 带滚轮机柜600*1000 Cabinet with castors (600 mm x 1000 mm) | 返回主页 Back to Selection Catalog | 页码 Page No. | 第 | 1 | 页 |  | 共 | 15 | 页
[5 empty] | Page |  | 1 | of |  | 15
技术要求/Technical requirements: 1.机柜宽度尺寸公差（0，-3）mm，图中标注尺寸单位：毫米 1. The cabinet width tolerance is (0, –3) mm. The unit of the dimensions in the figure is millimeter. 2.底座材料不做要求，颜色建议为黑色（RAL9005） 2. There is no requirement on the base material. The recommended color is black (RAL9005). 3.底座承重要求不少于2T； 3. The bearing capacity of the base must be at least 2 tons. 4.相连底座需用螺栓并联，底座需保证至少四角与地面固定 4.Connect adjacent bases in parallel using bolts .Ensure that each base is secured to the ground through at least four corners. 5.与机柜连接位置需焊接M12螺母，且要保证焊接强度，不可出现虚焊； 5. Weld M12 nuts at the positions where the cabinet is connected to the base. The welding strength must be ensured and all nuts are properly welded.

## P2
All rights reserved
| 图纸名称 Drawing Name | 带滚轮机柜600*850 Cabinet with castors (600 mm x 850 mm) | 返回主页 Back to Selection Catalog | 页码 Page No. | 第 | 2 | 页 |  | 共 | 15 | 页
[5 empty] | Page |  | 2 | of |  | 15
技术要求/Technical requirements: 1.机柜宽度尺寸公差（0，-3）mm，图中标注尺寸单位：毫米 1. The cabinet width tolerance is (0, –3) mm. The unit of the dimensions in the figure is millimeter. 2.底座材料不做要求，颜色建议为黑色（RAL9005） 2. There is no requirement on the base material. The recommended color is black (RAL9005). 3.底座承重要求不少于2T； 3. The bearing capacity of the base must be at least 2 tons. 4.相连底座需用螺栓并联，底座需保证至少四角与地面固定 4.Connect adjacent bases in parallel using bolts .Ensure that each base is secured to the ground through at least four corners. 5.与机柜连接位置需焊接M12螺母，且要保证焊接强度，不可出现虚焊； 5. Weld M12 nuts at the positions where the cabinet is connected to the base. The welding strength must be ensured and all nuts are properly welded.

## P3
All rights reserved
| 图纸名称 Drawing Name | 支脚机柜600*1000 Cabinet with feet (600 mm x 1000 mm) | 返回主页 Back to Selection Catalog | 页码 Page No. | 第 | 3 | 页 |  | 共 | 15 | 页
[5 empty] | Page |  | 3 | of |  | 15
技术要求/Technical requirements: 1.机柜宽度尺寸公差（0，-3）mm，图中标注尺寸单位：毫米 1. The cabinet width tolerance is (0, –3) mm. The unit of the dimensions in the figure is millimeter. 2.底座材料不做要求，颜色建议为黑色（RAL9005） 2. There is no requirement on the base material. The recommended color is black (RAL9005). 3.底座承重要求不少于2T； 3. The bearing capacity of the base must be at least 2 tons. 4.相连底座需用螺栓并联，底座需保证至少四角与地面固定 4.Connect adjacent bases in parallel using bolts .Ensure that each base is secured to the ground through at least four corners. 5.与机柜连接位置需焊接M12螺母，且要保证焊接强度，不可出现虚焊； 5. Weld M12 nuts at the positions where the cabinet is connected to the base. The welding strength must be ensured and all nuts are properly welded.

## P4
All rights reserved
| 图纸名称 Drawing Name | 支脚机柜1200*850（双柜） 1200 mm x 850 mm cabinet with feet (two cabinets) | 返回主页 Back to Selection Catalog | 页码 Page No. | 第 | 4 | 页 |  | 共 | 15 | 页
[5 empty] | Page |  | 4 | of |  | 15
技术要求/Technical requirements: 1.机柜宽度尺寸公差（0，-3）mm，图中标注尺寸单位：毫米 1. The cabinet width tolerance is (0, –3) mm. The unit of the dimensions in the figure is millimeter. 2.底座材料不做要求，颜色建议为黑色（RAL9005） 2. There is no requirement on the base material. The recommended color is black (RAL9005). 3.底座承重要求不少于2T； 3. The bearing capacity of the base must be at least 2 tons. 4.相连底座需用螺栓并联，底座需保证至少四角与地面固定 4.Connect adjacent bases in parallel using bolts .Ensure that each base is secured to the ground through at least four corners. 5.与机柜连接位置需焊接M12螺母，且要保证焊接强度，不可出现虚焊； 5. Weld M12 nuts at the positions where the cabinet is connected to the base. The welding strength must be ensured and all nuts are properly welded.

## P5
All rights reserved
| 图纸名称 Drawing Name | 支脚机柜1400*850（双柜） 1400 mm x 850 mm cabinet with feet (two cabinets) | 返回主页 Back to Selection Catalog | 页码 Page No. | 第 | 5 | 页 |  | 共 | 15 | 页
[5 empty] | Page |  | 5 | of |  | 15
技术要求/Technical requirements: 1.机柜宽度尺寸公差（0，-3）mm，图中标注尺寸单位：毫米 1. The cabinet width tolerance is (0, –3) mm. The unit of the dimensions in the figure is millimeter. 2.底座材料不做要求，颜色建议为黑色（RAL9005） 2. There is no requirement on the base material. The recommended color is black (RAL9005). 3.底座承重要求不少于2T； 3. The bearing capacity of the base must be at least 2 tons. 4.相连底座需用螺栓并联，底座需保证至少四角与地面固定 4.Connect adjacent bases in parallel using bolts .Ensure that each base is secured to the ground through at least four corners. 5.与机柜连接位置需焊接M12螺母，且要保证焊接强度，不可出现虚焊； 5. Weld M12 nuts at the positions where the cabinet is connected to the base. The welding strength must be ensured and all nuts are properly welded.

## P6
v
All rights reserved
| 图纸名称 Drawing Name | 支脚机柜2400*850（四柜） 2400 mm x 850 mm cabinet with feet (four cabinets) | 返回主页 Back to Selection Catalog | 页码 Page No. | 第 | 6 | 页 |  | 共 | 15 | 页
[5 empty] | Page |  | 6 | of |  | 15
技术要求/Technical requirements: 1.机柜宽度尺寸公差（0，-3）mm，图中标注尺寸单位：毫米 1. The cabinet width tolerance is (0, –3) mm. The unit of the dimensions in the figure is millimeter. 2.底座材料不做要求，颜色建议为黑色（RAL9005） 2. There is no requirement on the base material. The recommended color is black (RAL9005). 3.底座承重要求不少于2T； 3. The bearing capacity of the base must be at least 2 tons. 4.相连底座需用螺栓并联，底座需保证至少四角与地面固定 4.Connect adjacent bases in parallel using bolts .Ensure that each base is secured to the ground through at least four corners. 5.与机柜连接位置需焊接M12螺母，且要保证焊接强度，不可出现虚焊； 5. Weld M12 nuts at the positions where the cabinet is connected to the base. The welding strength must be ensured and all nuts are properly welded.

## P7
All rights reserved
| 图纸名称 Drawing Name | 支脚机柜800*1000 Cabinet with feet (800 mm x 1000 mm) | 返回主页 Back to Selection Catalog | 页码 Page No. | 第 | 7 | 页 |  | 共 | 15 | 页
[5 empty] | Page |  | 7 | of |  | 15
技术要求/Technical requirements: 1.机柜宽度尺寸公差（0，-3）mm，图中标注尺寸单位：毫米 1. The cabinet width tolerance is (0, –3) mm. The unit of the dimensions in the figure is millimeter. 2.底座材料不做要求，颜色建议为黑色（RAL9005） 2. There is no requirement on the base material. The recommended color is black (RAL9005). 3.底座承重要求不少于2T； 3. The bearing capacity of the base must be at least 2 tons. 4.相连底座需用螺栓并联，底座需保证至少四角与地面固定 4.Connect adjacent bases in parallel using bolts .Ensure that each base is secured to the ground through at least four corners. 5.与机柜连接位置需焊接M12螺母，且要保证焊接强度，不可出现虚焊； 5. Weld M12 nuts at the positions where the cabinet is connected to the base. The welding strength must be ensured and all nuts are properly welded.

## P8
All rights reserved
| 图纸名称 Drawing Name | 支脚机柜800*1000（柜中柜） 800 mm x 1000 mm cabinet with feet (with an internal cabinet) | 返回主页 Back to Selection Catalog | 页码 Page No. | 第 | 8 | 页 |  | 共 | 15 | 页
[5 empty] | Page |  | 8 | of |  | 15
技术要求/Technical requirements: 1.机柜宽度尺寸公差（0，-3）mm，图中标注尺寸单位：毫米 1. The cabinet width tolerance is (0, –3) mm. The unit of the dimensions in the figure is millimeter. 2.底座材料不做要求，颜色建议为黑色（RAL9005） 2. There is no requirement on the base material. The recommended color is black (RAL9005). 3.底座承重要求不少于2T； 3. The bearing capacity of the base must be at least 2 tons. 4.相连底座需用螺栓并联，底座需保证至少四角与地面固定 4.Connect adjacent bases in parallel using bolts .Ensure that each base is secured to the ground through at least four corners. 5.与机柜连接位置需焊接M12螺母，且要保证焊接强度，不可出现虚焊； 5. Weld M12 nuts at the positions where the cabinet is connected to the base. The welding strength must be ensured and all nuts are properly welded.

## P9
All rights reserved
| 图纸名称 Drawing Name | 支脚机柜1600*1000（双柜） 1600 mm x 1000 mm cabinet with feet (two cabinets) | 返回主页 Back to Selection Catalog | 页码 Page No. | 第 | 9 | 页 |  | 共 | 15 | 页
[5 empty] | Page |  | 9 | of |  | 15
技术要求/Technical requirements: 1.机柜宽度尺寸公差（0，-3）mm，图中标注尺寸单位：毫米 1. The cabinet width tolerance is (0, –3) mm. The unit of the dimensions in the figure is millimeter. 2.底座材料不做要求，颜色建议为黑色（RAL9005） 2. There is no requirement on the base material. The recommended color is black (RAL9005). 3.底座承重要求不少于2T； 3. The bearing capacity of the base must be at least 2 tons. 4.相连底座需用螺栓并联，底座需保证至少四角与地面固定 4.Connect adjacent bases in parallel using bolts .Ensure that each base is secured to the ground through at least four corners. 5.与机柜连接位置需焊接M12螺母，且要保证焊接强度，不可出现虚焊； 5. Weld M12 nuts at the positions where the cabinet is connected to the base. The welding strength must be ensured and all nuts are properly welded.

## P10
All rights reserved
| 图纸名称 Drawing Name | 支脚机柜2400*1000（三柜） 2400 mm x 1000 mm cabinet with feet (three cabinets) | 返回主页 Back to Selection Catalog | 页码 Page No. | 第 | 10 | 页 |  | 共 | 15 | 页
[5 empty] | Page |  | 10 | of |  | 15
技术要求/Technical requirements: 1.机柜宽度尺寸公差（0，-3）mm，图中标注尺寸单位：毫米 1. The cabinet width tolerance is (0, –3) mm. The unit of the dimensions in the figure is millimeter. 2.底座材料不做要求，颜色建议为黑色（RAL9005） 2. There is no requirement on the base material. The recommended color is black (RAL9005). 3.底座承重要求不少于2T； 3. The bearing capacity of the base must be at least 2 tons. 4.相连底座需用螺栓并联，底座需保证至少四角与地面固定 4.Connect adjacent bases in parallel using bolts .Ensure that each base is secured to the ground through at least four corners. 5.与机柜连接位置需焊接M12螺母，且要保证焊接强度，不可出现虚焊； 5. Weld M12 nuts at the positions where the cabinet is connected to the base. The welding strength must be ensured and all nuts are properly welded.

## P11
All rights reserved
| 图纸名称 Drawing Name | 支脚机柜400*1000 Cabinet with feet (400 mm x 1000 mm) | 返回主页 Back to Selection Catalog | 页码 Page No. | 第 | 11 | 页 |  | 共 | 15 | 页
[5 empty] | Page |  | 11 | of |  | 15
技术要求/Technical requirements: 1.机柜宽度尺寸公差（0，-3）mm，图中标注尺寸单位：毫米 1. The cabinet width tolerance is (0, –3) mm. The unit of the dimensions in the figure is millimeter. 2.底座材料不做要求，颜色建议为黑色（RAL9005） 2. There is no requirement on the base material. The recommended color is black (RAL9005). 3.底座承重要求不少于2T； 3. The bearing capacity of the base must be at least 2 tons. 4.相连底座需用螺栓并联，底座需保证至少四角与地面固定 4.Connect adjacent bases in parallel using bolts .Ensure that each base is secured to the ground through at least four corners. 5.与机柜连接位置需焊接M12螺母，且要保证焊接强度，不可出现虚焊； 5. Weld M12 nuts at the positions where the cabinet is connected to the base. The welding strength must be ensured and all nuts are properly welded.

## P12
All rights reserved
| 图纸名称 Drawing Name | 带滚轮机柜400*850 Cabinet with castors (400 mm x 850 mm) | 返回主页 Back to Selection Catalog | 页码 Page No. | 第 | 12 | 页 |  | 共 | 15 | 页
[5 empty] | Page |  | 12 | of |  | 15
技术要求/Technical requirements: 1.机柜宽度尺寸公差（0，-3）mm，图中标注尺寸单位：毫米 1. The cabinet width tolerance is (0, –3) mm. The unit of the dimensions in the figure is millimeter. 2.底座材料不做要求，颜色建议为黑色（RAL9005） 2. There is no requirement on the base material. The recommended color is black (RAL9005). 3.底座承重要求不少于2T； 3. The bearing capacity of the base must be at least 2 tons. 4.相连底座需用螺栓并联，底座需保证至少四角与地面固定 4.Connect adjacent bases in parallel using bolts .Ensure that each base is secured to the ground through at least four corners. 5.与机柜连接位置需焊接M12螺母，且要保证焊接强度，不可出现虚焊； 5. Weld M12 nuts at the positions where the cabinet is connected to the base. The welding strength must be ensured and all nuts are properly welded.

## P13
All rights reserved
| 图纸名称 Drawing Name | 带滚轮机柜600*850+选配上出风 600 mm x 850 mm cabinet with castors + Top air-flow cabinet | 返回主页 Back to Selection Catalog | 页码 Page No. | 第 | 13 | 页 |  | 共 | 15 | 页
[5 empty] | Page |  | 13 | of |  | 15
技术要求/Technical requirements: 1.机柜宽度尺寸公差（0，-3）mm，图中标注尺寸单位：毫米 1. The cabinet width tolerance is (0, –3) mm. The unit of the dimensions in the figure is millimeter. 2.底座材料不做要求，颜色建议为黑色（RAL9005） 2. There is no requirement on the base material. The recommended color is black (RAL9005). 3.底座承重要求不少于2T； 3. The bearing capacity of the base must be at least 2 tons. 4.相连底座需用螺栓并联，底座需保证至少四角与地面固定 4.Connect adjacent bases in parallel using bolts .Ensure that each base is secured to the ground through at least four corners. 5.与机柜连接位置需焊接M12螺母，且要保证焊接强度，不可出现虚焊； 5. Weld M12 nuts at the positions where the cabinet is connected to the base. The welding strength must be ensured and all nuts are properly welded.

## P14
All rights reserved
| 图纸名称 Drawing Name | 支脚机柜1200*850+选配上出风 1200 mm x 850 mm cabinet with feet + Top air-flow cabinet | 返回主页 Back to Selection Catalog | 页码 Page No. | 第 | 14 | 页 |  | 共 | 15 | 页
[5 empty] | Page |  | 14 | of |  | 15
技术要求/Technical requirements: 1.机柜宽度尺寸公差（0，-3）mm，图中标注尺寸单位：毫米 1. The cabinet width tolerance is (0, –3) mm. The unit of the dimensions in the figure is millimeter. 2.底座材料不做要求，颜色建议为黑色（RAL9005） 2. There is no requirement on the base material. The recommended color is black (RAL9005). 3.底座承重要求不少于2T； 3. The bearing capacity of the base must be at least 2 tons. 4.相连底座需用螺栓并联，底座需保证至少四角与地面固定 4.Connect adjacent bases in parallel using bolts .Ensure that each base is secured to the ground through at least four corners. 5.与机柜连接位置需焊接M12螺母，且要保证焊接强度，不可出现虚焊； 5. Weld M12 nuts at the positions where the cabinet is connected to the base. The welding strength must be ensured and all nuts are properly welded.

## P15
All rights reserved
| 图纸名称 Drawing Name | 支脚机柜1400*850+选配上出风 1400 mm x 850 mm cabinet with feet + Top air-flow cabinet | 返回主页 Back to Selection Catalog | 页码 Page No. | 第 | 15 | 页 |  | 共 | 15 | 页
[5 empty] | Page |  | 15 | of |  | 15
技术要求/Technical requirements: 1.机柜宽度尺寸公差（0，-3）mm，图中标注尺寸单位：毫米 1. The cabinet width tolerance is (0, –3) mm. The unit of the dimensions in the figure is millimeter. 2.底座材料不做要求，颜色建议为黑色（RAL9005） 2. There is no requirement on the base material. The recommended color is black (RAL9005). 3.底座承重要求不少于2T； 3. The bearing capacity of the base must be at least 2 tons. 4.相连底座需用螺栓并联，底座需保证至少四角与地面固定 4.Connect adjacent bases in parallel using bolts .Ensure that each base is secured to the ground through at least four corners. 5.与机柜连接位置需焊接M12螺母，且要保证焊接强度，不可出现虚焊； 5. Weld M12 nuts at the positions where the cabinet is connected to the base. The welding strength must be ensured and all nuts are properly welded.